## Sheet1
A
| Mounting: |  |  |  |  | Voltage: | [6 empty] | BUS Rating:
| Location: |  |  |  |  | Phases: | [6 empty] | Main Breaker/MLO:
[6 empty] | Wires: | [6 empty] | Isc Rating: |  | AIC
| Print Date |  |  |  |  | Circuits: | [6 empty] | Isca (Calculated): |  | AIC
| Rem | CCT No. | LOAD |  |  |  | BKR SIZE | PH | BKR SIZE | LOAD |  |  |  | CCT No. | Rem
|  |  | Description | Qty | TYPE | kVA |  |  |  | kVA | TYPE | Qty | Description
|  | 1 | Receptacles | 9 |  | 1.08 | 20 | A | 20 | 0.48 |  | 4 | Light | 2
|  | 3 | CCTV | 2 |  | 0.24 | 20 | B | 20 | 0.72 |  | 6 | Receptacles | 4
|  | 5 | Light | 6 |  | 0.72 | 20 | C | 20 | 0.24 |  | 2 | CCTV | 6
B
| Mounting: |  |  |  |  | Voltage: | [6 empty] | BUS Rating:
| Location: |  |  |  |  | Phases: | [6 empty] | Main Breaker/MLO:
[6 empty] | Wires: | [6 empty] | Isc Rating: |  | AIC
| Print Date |  |  |  |  | Circuits: | [6 empty] | Isca (Calculated): |  | AIC
| Rem | CCT No. | LOAD |  |  |  | BKR SIZE | PH | BKR SIZE | LOAD |  |  |  | CCT No. | Rem
|  |  | Description | Qty | TYPE | kVA |  |  |  | kVA | TYPE | Qty | Description
|  | 1 | Receptacles | 9 |  | 1.08 | 20 | A | 20 | 0.96 |  | 8 | Light | 2
|  | 3 | Comp Receptacles | 2 |  | 0.24 | 20 | B | 20 | 1.2 |  | 10 | Light | 4
|  | 5 | Receptacles | 8 |  | 0.96 | 20 | C | 20 | 0.36 |  | 3 | Card Reader | 6
C
| Mounting: |  |  |  |  | Voltage: | [6 empty] | BUS Rating:
| Location: |  |  |  |  | Phases: | [6 empty] | Main Breaker/MLO:
[6 empty] | Wires: | [6 empty] | Isc Rating: |  | AIC
| Print Date |  |  |  |  | Circuits: | [6 empty] | Isca (Calculated): |  | AIC
| Rem | CCT No. | LOAD |  |  |  | BKR SIZE | PH | BKR SIZE | LOAD |  |  |  | CCT No. | Rem
|  |  | Description | Qty | TYPE | kVA |  |  |  | kVA | TYPE | Qty | Description
|  | 1 | Light | 10 |  | 1.2 | 20 | A | 20 | 0.12 |  | 1 | Exit Light | 2
|  | 3 | Light | 10 |  | 1.2 | 20 | B | 20 | 0.84 |  | 7 | Receptacles | 4
|  | 5 | Light | 10 |  | 1.2 | 20 | C | 20 | 0.24 |  | 2 | Fire+Somke Detector | 6
D
| Mounting: |  |  |  |  | Voltage: | [6 empty] | BUS Rating:
| Location: |  |  |  |  | Phases: | [6 empty] | Main Breaker/MLO:
[6 empty] | Wires: | [6 empty] | Isc Rating: |  | AIC
| Print Date |  |  |  |  | Circuits: | [6 empty] | Isca (Calculated): |  | AIC
| Rem | CCT No. | LOAD |  |  |  | BKR SIZE | PH | BKR SIZE | LOAD |  |  |  | CCT No. | Rem
|  |  | Description | Qty | TYPE | kVA |  |  |  | kVA | TYPE | Qty | Description
|  | 1 | Light | 7 |  | 0.84 | 20 | A | 20 | 0.48 |  | 4 | Receptacles | 2
|  | 3 | Light | 10 |  | 1.2 | 20 | B | 20 | 0.12 |  | 1 | CCTV | 4
|  | 5 | Light | 6 |  | 0.72 | 20 | C | 20 | 0.24 |  | 2 | Fire+Somke Detector | 6
E
| Mounting: |  |  |  |  | Voltage: | [6 empty] | BUS Rating:
| Location: |  |  |  |  | Phases: | [6 empty] | Main Breaker/MLO:
[6 empty] | Wires: | [6 empty] | Isc Rating: |  | AIC
| Print Date |  |  |  |  | Circuits: | [6 empty] | Isca (Calculated): |  | AIC
| Rem | CCT No. | LOAD |  |  |  | BKR SIZE | PH | BKR SIZE | LOAD |  |  |  | CCT No. | Rem
|  |  | Description | Qty | TYPE | kVA |  |  |  | kVA | TYPE | Qty | Description
|  | 1 | Receptacles | 10 |  | 1.2 | 20 | A | 20 | 0.72 |  | 6 | Emergency Light | 2
|  | 3 | Receptacles | 10 |  | 1.2 | 20 | B | 20 | 0.24 |  | 2 | Motion Sensor | 4
|  | 5 | Receptacles | 10 |  | 1.2 | 20 | C | 20 | 0.12 |  | 1 | Ocupency Sensor | 6
F
| Mounting: |  |  |  |  | Voltage: | [6 empty] | BUS Rating:
| Location: |  |  |  |  | Phases: | [6 empty] | Main Breaker/MLO:
[6 empty] | Wires: | [6 empty] | Isc Rating: |  | AIC
| Print Date |  |  |  |  | Circuits: | [6 empty] | Isca (Calculated): |  | AIC
| Rem | CCT No. | LOAD |  |  |  | BKR SIZE | PH | BKR SIZE | LOAD |  |  |  | CCT No. | Rem
|  |  | Description | Qty | TYPE | kVA |  |  |  | kVA | TYPE | Qty | Description
|  | 1 | Light | 10 |  | 1.2 | 20 | A | 20 | 0.36 |  | 3 | WiFi | 2
|  | 3 | Light | 10 |  | 1.2 | 20 | B | [5 empty] | 4
|  | 5 | Light | 9 |  | 1.2 | 20 | C | [5 empty] | 6